## MD-ENG-516A Centrifugal
PIPELINE DESIGN DATA SHEET - CENTRIFUGAL PUMP
Cooperator: | [7 empty] | Location:
Conservation District: | [7 empty] | Field Office:
Identification No.: | [7 empty] | Field No(s).:
Design Water Requirement: | [6 empty] | gpm
Source of water supplly (stream, well, reservoir, etc.):
Well: Static water level |  |  | ft |  |  |  |  | Design pumping lift |  |  |  |  | ft
Existing Pump Measured Capacity: |  |  |  |  | gpm @ |  |  |  | ft
Pipeline No. (see plan for location) | Kind of Pipe, Material, SDR, etc. | Design Capacity (gpm) | Nominal Pipe Diam. (in) |  | Pipe Inside Diam. (in) |  | Pipeline Length (ft) |  | Coefficient of Roughness, C |  | Velocity (ft/sec) |  | Friction Head Loss (ft) | Friction Loss Used for Design1.
Total pipeline friction head loss used for design (ft)
Maximum elevation difference from pump discharge to outlet ( - downhill, + uphill) = | [12 empty] | ft
Designed outlet discharge pressure2. |  |  |  | = |  |  | ft
|  |  |  | + |  |  | ft total pipe friction head loss
|  |  |  | + |  |  | ft elevation difference (- downhill, + uphill)
Minimum pump discharge pressure |  |  |  | = |  |  | ft = |  |  |  | psi
OR
Pump shut off pressure3. = |  |  | psi | = |  |  | ft
|  |  |  | + |  |  | ft | elevation difference between pump discharge and water elevation in well during drawdown
Total Dynamic Head (TDH)4. |  |  |  | = |  |  | ft
1. Use the friction loss for the pipeline that has the most head loss.
2. Outlet discharge pressure should be > 10 psi (23.1 feet) for watering facilities; 1 psi = 2.31 feet.
3. Only if using a pressure tank. If not, enter zero.
4. TDH calculation uses the greater of the pipeline inlet pressure and the pump shut off pressure.
Pump design requirements: |  |  |  | gpm @ |  |  |  | ft or |  |  | psi @ pump discharge
OR
Pump design requirements: |  |  |  | gpm @ |  |  |  | ft or |  |  | psi @ TDH
Existing pump (mark one): |  |  | adequate |  |  |  | inadequate |  |  | not applicable
New pump required (mark one)? |  |  | yes |  |  |  | no
Pump efficiency (%) = | [5 empty] | Motor efficiency (%) =
Minimum Horsepower = | [5 empty] | Selected Horsepower =
Remarks:
Plan of pipeline design. Scale 1” = ______ |  |  |  |  | ft. Show on plan north arrow, source of water, pipeline diameter,
and pipeline location. In lieu of plan below, attach aerial photo with same information.
Pipeline No. | Nominal Pipeline Diam. (in) | PIP or IPS | SDR No. or SCH |  | Material (PVC 1120, etc.) |  |  | Pressure Rating (psi) |  | Total Length (ft) |  | Minimum Depth of Cover (in)
Designed by: | [9 empty] | Date:
Checked by: | [9 empty] | Date:
Approved by: | [9 empty] | Date:
This practice meets NRCS standards and specifications. | [12 empty] | Date:
(Signature)

## MD-ENG-516B Submersible
PIPELINE DESIGN DATA SHEET - SUBMERSIBLE PUMP
Cooperator: |  | Foye Hart | [7 empty] | Location: |  | Sec 24 Twn 4S Rng 10E
Conservation District: |  |  | Lafayette | [6 empty] | Field Office: |  | Mayo
Identification No.: | [9 empty] | Field No(s).:
Design Water Requirement: |  |  |  | 2 |  |  |  |  | gpm
Source of water supplly (stream, well, reservoir, etc.): | [9 empty] | New 4" Dia. Well
Well: Static water level |  |  |  |  | ft |  |  |  |  | Design pumping lift |  |  |  |  | ft
Existing Pump Measured Capacity: | [6 empty] | gpm @ |  |  |  | ft
Pipeline No. (see plan for location) | Kind of Pipe, Material, SDR, ect. |  | Design Capacity (gpm) |  | Nominal Pipe Diam. (in) |  | Pipe Inside Diam. (in) |  | Pipeline Length (ft) |  | Coefficient of Roughness, C |  | Velocity (ft/sec) |  | Friction Head Loss (ft) | Friction Loss Used for Design1.
T1 | IPS SCH 40 |  | 2 |  | 1 |  | 1.049 |  | 1739 |  | 150 |  | 0.74155 |  | 4.8895 | 4.89
| 3 ELBOWS 90° |  | 2 |  | 1 |  | 1.049 |  | 6.9 |  | 150 |  | 0.74155 |  | 0.019401 | 0.02
| 1 TEE |  | 2 |  | 1 |  | 1.049 |  | 5.8 |  | 150 |  | 0.74155 |  | 0.016308 | 0.07
| 1 ELBOW 45° |  | 2 |  | 1 |  | 1.049 |  | 1.3 |  | 150 |  | 0.74155 |  | 0.0036552 | 0
| 2 GATE VALVE |  | 2 |  | 1 |  | 1.049 |  | 2.4 |  | 150 |  | 0.74155 |  | 0.0067481 | 0.01
| 1 ANGLE VALVE |  | 2 |  | 0.75 |  | 0.82 |  | 12 |  | 150 |  | 1.2136 |  | 0.11185 | 0.11
Total pipeline friction head loss used for design (ft) | [15 empty] | 5.1
1. Use the friction loss for the pipeline that has the most head loss
Maximum elevation difference from pipe inlet to outlet | [7 empty] | = |  |  | ft ( - downhill, + uphill)
Designed outlet discharge pressure2. | [5 empty] | = |  |  | ft
[6 empty] | + | 5.1 |  | ft total pipe friction head loss
[6 empty] | + |  |  | ft elevation difference (- downhill, + uphill)
Minimum pipeline inlet pressure | [5 empty] | = |  |  | ft | = |  |  | psi
OR
Pump shut off pressure3. = |  |  |  |  | psi | = |  |  | ft
[6 empty] | + |  |  | ft, elevation difference between pipeline inlet and water
elevation in well during drawdown
Total Dynamic Head (TDH)4. | [5 empty] | = |  |  | ft
2. Outlet discharge pressure should be > 10 psi (23.1 feet) for watering facilities; 1 psi = 2.31 feet
3. Only if using a pressure tank. If not, enter zero.
4. TDH calculation uses the greater of the pipeline inlet pressure and the pump shut off pressure.
Pump design requirements: |  |  |  | 2 |  | gpm @ |  | 116.4 |  | ft or | 50.3896 |  | psi @ TDH
Existing pump (mark one): |  |  |  |  | adequate |  |  | X | inadequate |  |  | not applicable
New pump required (mark one)? |  |  |  | X | yes |  |  |  | no
Pump efficiency (%) = |  |  | 80 |  |  |  |  | Motor efficiency (%) = |  |  |  |  | 80
Minimum Horsepower = |  |  | 0.091856 |  |  |  |  | Selected Horsepower = |  |  |  |  | 1
Remarks:
New 4" Dia. well and submersible pump capable of producing 2 GPM will be used.
Plan of pipeline design. Scale 1” = ______ |  |  |  |  | N/A |  | ft. Show on plan north arrow, source of water, pipeline
diameter, and pipeline location. In lieu of plan below, attach aerial photo with same information.
SEE PLAN VIEW
Pipeline No. | Nominal Pipeline Diam. (in) |  | PIP or IPS |  | SDR No. or SCH |  | Material (PVC 1120, etc.) |  |  | Pressure Rating (psi) |  | Total Length (ft) |  | Minimum Depth of Cover (in)
T1 | 1 |  | IPS |  | SCH 40 |  | PVC 1120 |  |  | 450 |  | 1739 |  | 18
Designed by: | [11 empty] | Date:
Checked by: | [11 empty] | Date:
Approved by: | [11 empty] | Date:
This practice meets NRCS standards and specifications. | [14 empty] | Date:
(Signature)

## 516C Centrifugal Schematic
WATERING FACILITY APPURTENANCES - CHECK SHEET
Centrifugal Schematic
Cooperator: | [9 empty] | Location:
Conservation District: | [9 empty] | Field Office:
Identification No.: | [9 empty] | Field No(s).:
[9 empty] | Pressure Tank: |  |  |  |  | gal
Air Vent
|  |  |  | in Check Valve | [5 empty] | Pressure Switch
in Diameter Pressure Relief Valve
| Pump HP: | [8 empty] | Pressure Gauge
in Check Valve
Concrete Pad
[13 empty] | Valve |  | in Diam.
4" min.
|  |  | ft |  |  |  | ft |  |  |  |  | Depth of Cover: |  |  | in
Pipeline
[6 empty] | Well |  | in diameter |  |  |  | Type:
[12 empty] | Pressure Rating: |  |  |  | psi
[12 empty] | Diameter: |  |  | in
Foot Valve
(Not to Scale)
| Pump must supply a minimum of | [6 empty] | gpm @ |  |  | psi | Pressure tank inlet pressure
Note: Cross out items in sketch not required. Attach additional drawings as needed.
| Designed by: | [10 empty] | Date:
| Checked by: | [10 empty] | Date:
| Approved by: | [10 empty] | Date:
Construction Check
|  | Well Capacity, gpm |  |  |  | Well Diameter, in. |  |  | Well Depth, feet |  |  | Pump Capacity, gpm
Planned
Check
Verify items on sketch by initialing by each item.
Length, quality and type of casing material:
Well Driller's log attached:
Pump type, make, model, and stages:
Comments:
| This practice meets NRCS standards and specifications. | [12 empty] | Date:
(Signature)

## 516D Submersible Schematic
WATERING FACILITY APPURTENANCES - CHECK SHEET
Submersible Pump Schematic
Cooperator: | [8 empty] | Location:
Conservation District: | [8 empty] | Field Office:
Identification No.: | [8 empty] | Field No(s).:
[7 empty] | Pressure Tank: | [5 empty] | gal
Air Vent
|  |  | in Check Valve | [5 empty] | Pressure Switch
in Diameter Pressure Relief Valve
Pressure Gauge
in Check Valve
Concrete Pad
[12 empty] | Valve |  | in Diam.
4" min.
|  |  | ft |  |  | ft |  |  |  |  | Depth of Cover: |  |  | in
[5 empty] | Well |  |  | in diameter |  |  | Pipeline
Type:
[11 empty] | Pressure Rating: |  |  |  | psi
[11 empty] | Diameter: |  |  | in
Pump HP:
(Not to Scale)
| Pump must supply a minimum of |  |  |  |  | gpm @ |  |  |  | psi | Pressure tank inlet pressure.
Note: Cross out items in sketch not required. Attach additional drawings as needed.
| Designed by: | [9 empty] | Date:
| Checked by: | [9 empty] | Date:
| Approved by: | [9 empty] | Date:
Construction Check
|  | Well Capacity, gpm |  | Well Diameter, in. |  |  | Well Depth, feet |  |  |  | Pump Capacity, gpm
Planned
Check
Verify items on sketch by initialing by each item.
Length, quality and type of casing material:
Well Driller's log attached:
Pump type, make, model, and stages:
Comments:
| This practice meets NRCS standards and specifications. | [11 empty] | Date:
(Signature)